EYEWASH STATION POLICY

I.	INSTRUCTIONS FOR USE.

Since employees could potentially be exposed to harmful corrosive materials, an emergency eyewash station has been provided for their safety, and in accordance with 29 CFR 1910.151[c].

When an individual gets a foreign body or splash in an eye or eyes, the eyes involuntarily clamp shut.  Therefore, the individual must be led to the nearest eye-wash fountain without delay.  Two persons should assist the patient to the emergency unit, each one taking an arm of the individual.

II.	LOCATIONS

The eyewash station(s) is/are located:

A.

B.

III.	PROCEDURES AT THE EYE WASH STATION

When the individual gets to the eye wash station, the person(s) assisting the patient should:

- Pull pin on cover and pull off caps.  With one hand, push lever.

- When the unit is flowing, place the patient’s left hand around the left nozzle and his right hand around the right nozzle.

- The patient should then lower his head into the unit to his two hands, which should remain around the nozzles so that he may locate the flow without having to open his eyes.

- When his eyes are in the streams of water, he should use the thumb and forefinger to open his eyelids.  They should be held open until both eyes are thoroughly flushed.

- Take the patient to medical aid immediately.

IV.	GUIDELINES

- The quicker the injured person can flush his/her eyes, the less likelihood there will be of eye damage.  Seconds can make the difference in preventing a serious eye injury or blindness.

- All employees should be reminded that this unit is for emergency use only; tampering with the unit or using it for non-emergency purposes will cause the unit to be empty when needed.  These will be considered very serious infractions of company policy.

- The shop foreman will be responsible to ensure that the unit is checked monthly to see that it is full, and will be tested periodically to ensure it works properly.